| To All Medical Laboratory Users: This edition of the Lab Med Update has the following articles: - Total PSA Changes - Protein S Antigen, (Free) and reflex testing to Quest - Antithrombin III (ATIII) (Lab311) - HITAB – Heparin Induced Platelet Antibody with reflex to SRA (LAB6173) ### if you have an article(s) you would like to share CONTACT: Terri Workman Proffitt 434-924-5198 EMAIL: Twp3q@virginia.edu |  | MEDICAL LABORATORIES Laboratory Medicine Update August 2019 Total PSA changes “Effective on August 13th, the lower limit for Total PSA changed from 0.02 ng/ml. to 0.1 ng/ml. to reflect manufacturer’s recommendations”. Protein S Antigen, (Free) and reflex testing to Quest Low results for Protein S Antigen, Free (Test code: PROSF (LAB6174)) will no longer automatically reflex to the Quest, Miscellaneous send out (LAB4003). If providers want to order the Functional Protein S and Total Protein S Antigen, please order: Quest, Miscellaneous send out (LAB4003) and specify Quest test code 129143 (Functional S with reflex to Total S). This test requires 2 aliquots of plasma, 0.5 mL each. Antithrombin III (ATIII) (LAB311) The presence of Factor Xa inhibitors may cause falsely elevated ATIII results with the current test methodology. This statement will be appended to all ATIII test results. HITAb Heparin Induced Platelet Antibody with reflex to SRA (LAB6173) Prior to drawing samples for the HITAb, Heparin should be stopped for a minimum of 2 hours. In the event that residual Heparin is present, laboratory studies suggest that there may be some interference from Heparin. This statement will be appended to all HITAb test results. |
| --- | --- | --- |