| To All Medical Laboratory Users: This edition of the Lab Med Update has the following articles: - Protein 5 Antigen, Free, pg. 1 - DRAW2BLU, pg. 1-2 - Aldosterone Testing Now In-House, pg. 2 - “Free Digoxin, pg. 2 - New Criteria for Urine Culture when ordered as reflex from Urinalysis (UA), pg. 3 - Inpatient Urine Culture Panel and Urine Culture Order questions, pg. 3 - 4 - Confirmation of Campylobacter and Cryptosporidium positive stool samples implemented per the FDA, pg. 4 - 5 - Upcoming Changes to Quantitative EBV and BKV Analysis from Plasma, pg. 5- 7 ### if you have an article(s) you would like to share CONTACT: Terri Workman Proffitt 434-924-5198 EMAIL: Twp3q@virginia.edu |  | MEDICAL LABORATORIES March 2019 Laboratory Medicine Update March 25, 2019 As of February 7th, 2019, the Functional Protein S Assay performed in the Special Coagulation lab was replaced by the Free Protein S Antigen assay, previously a send-out test. Protein S Antigen, Free Test code: PROSF (LAB6174) Specimen requirements: light blue top tube, sodium citrate. Processing details available in EPIC. Testing Schedule: Monday – Friday 7:00 AM – 3:30 PM or (with Pathology approval) on evenings, weekends and holidays. Advantages to new assay: - Less interference from anticoagulants. - Reduced turn-around-time. - Reference intervals have been established for both men and women. DRAW2BLU A new test code: “Draw Blue Top tubes for Special Coagulation” (DRAW2BLU) is now available. Please use this “Draw Blue” test code if there is a possibility that the patient will require any Special Coagulation testing at a later date. Examples of Special Coagulation tests: Factor Assays, Von Willebrand testing, Protein S, Protein C, Lupus Anticoagulant testing. Aldosterone Testing Now In-House The Toxicology Laboratory has validated and is now performing Aldosterone by liquid chromatography tandem mass spectrometry (LC-MSMS) in-house. The test is available to order in Epic (LAB6180) and requires 1 full EDTA (purple) top tube. Please note: this is a change from the previous send out assay specimen requirement. The reference interval for an upright patient is 2.5 – 23.8 ng/dL The assay will be performed weekly with a seven- day turnaround time. “Free Digoxin” “Free Digoxin” will no longer be performed at UVA. Requests for this test will need to be submitted using a “Miscellaneous Send-out” order. We will continue to perform “Total Digoxin” in-house. |
| --- | --- | --- |
|  |  | New Criteria for Urine Culture (UC) when ordered as reflex from Urinalysis (UA) Urinalysis (UA) New criteria for reflex urine culture testing after urinalysis (UA) will be implemented for all Urinalysis Reflex to Culture (UACUL) order requests. These criteria have changed to only include the presence of ≥10 WBCs per high power field. A positive urine culture may represent a urinary tract infection (UTI) or asymptomatic bacteriuria (ASB). There are only a few indications for treating ASB (immunosuppressed, urology patients, and pregnant women). In adults, pyuria helps differentiate UTI from ASB. Decreasing urine culture orders that represent ASB can lead to reduction of unnecessary antibiotics and improve patient safety. At this time, outpatient locations may continue to order Urine Culture independent of the UA results. Urine cultures may be ordered for special populations independent of UA results for inpatients or outpatients. See below for details. Inpatient Urine Culture Panel and Urine Culture Order questions A new Urine Culture Panel is now in place to provide ordering guidance. If you search for “Urine Culture” during inpatient order entry, you will no longer see separate individual orders for “Urinalysis, with reflex culture” and “Culture, urine.” Instead, you will see a list in this new panel: Selecting the “Culture, Urine (Special Populations Only)” order prompts a new question to appear that tracks order usage in different populations. - If discrete data are available, answers will be pre-selected. For example, if the patient has an active pregnancy episode in Epic, then that answer will already be selected when the order is opened (as displayed above). - If “Other” is selected, you will be prompted to order the Reflex Culture instead. If you want to proceed with the Urine Culture, you will have the option to do so, but you must provide the clinical rationale. Confirmation of Campylobacter and Cryptosporidium positive stool samples implemented per the FDA The UVA Clinical Microbiology Laboratory has been informed that a product recall involving the BioFire® FilmArray® Gastrointestinal (GI) Panel has been instituted by BioFire Diagnostics, LLC, due to elevated rates of false positive results for Campylobacter and Cryptosporidium targets. BioFire Diagnostics has found the manufacturing error that led to the false positives. However, for an undefined period of time, the FDA suggests that all positive Campylobacter and Cryptosporidium targets in stool specimens should be tested with an alternate method to confirm positivity. This will impact both the Community GI Pathogen Panel and the Targeted GI Pathogen Panel at UVA. Samples previously testing positive for these targets are being retested, and corrected reports, with phone notification to clinicians, will be provided for any samples that do not retest as positive for Campylobacter or Cryptosporidium. Samples testing positive for these targets are being retested at the time of the initial positive result, so corrected reports should not be necessary. No targets other than Campylobacter and Cryptosporidium have been identified in the product recall action initiated by BioFire. # Upcoming Changes to Quantitative EBV and BKV Analysis from Plasma During the week of April 15, 2019, the Clinical Microbiology and Molecular Diagnostics Laboratory will implement new methods for quantitative EBV and BKV analyses on plasma samples, utilizing the Abbott m2000 platform. Patient results will be reported in IU/mL as compared to copies/mL with the previous methods. The new Abbott tests provide the following dynamic ranges: - EBV: - Lower Limit of Detection of 138 IU/mL (previously 275 IU/mL) - Linear Range of 500-5,000,000 IU/mL (previously 490-4,900,000 IU/mL) - BKV: - Lower Limit of Detection of 9 IU/mL (no change) - Linear Range of 200-20,000,000 IU/mL (previously 159-1,590,000 IU/mL) Quantitative EBV/BKV values are generally comparable (within 1.0 log) between methods. Please contact the Microbiology Laboratory Director at PIC 3677 to discuss any need for a new baseline value for your patients. Results will read as follows: - For patients with a viral load at or above the limit of quantification, a numeric value and the log base 10 will be reported. - For patients with no measurable viral load (below limit of detection), the result “None Detected” will be reported. - For patients with a detectable but not quantifiable viral load, the results will read as follows: - For EBV: “Virus detected, but quantified at less than 500 IU/mL and less than 2.70 log base 10” will be reported. - For BKV: “Virus detected, but quantified at less than 200 IU/mL and less than 2.30 log base 10” will be reported. - This indicates that viral nucleic acid is present, but at a level below the limit of quantification. Required specimen: Approved specimen type has not changed. Testing requires EDTA-anticoagulated plasma (pink top tube). Required volume is 5 mL blood (1 mL plasma minimum). Testing Schedule: EBV and BKV viral load testing will be performed Mondays, Wednesdays, and Fridays, with additional runs performed as needed to meet the requirements of the current patient caseload. Please contact the Clinical Microbiology Director on call at PIC 1221 with questions. |